THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/19/2021 | EXPIRATION DATE: 6/1/2027 | DOCKET #: LPC-22-00997 |  | CRB CRB-22-00997 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: 1000 FIFTH AVENUE |  |  | BOROUGH: MANHATTAN |  | BLOCK/LOT: 1111 / 1 |  |
| Metropolitan Museum of Art, Interior Landmark Metropolitan Museum of Art, Individual Landmark |  |  |  |  |  |  |

To the Mayor, the Council, and the Commissioner, NYC Department of Cultural Affairs,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission, at the Public Meeting of June 1, 2021, following the Public Hearing and Public Meeting of February 9, 2021, voted to issue a positive report for the approved work at the subject premises, as put forth in your application completed on January 14, 2021, and as you were notified in Status Update Letter 21-04144 (LPC 21-04144), issued on June 2, 2021.

The proposal, as approved, consists of replacing the south-facing sloped curtain wall façade of the

Rockefeller Wing, with a new curtain wall façade, featuring glass panes 1’-1” wider and 2’-6” taller than the existing panels; fritted (“bird safe”) glazing with a gradated tint coverage of 30% at the first row, 50- 73% at the second row, 73-87% at the third row, 87-89.4% at the fourth row, and 89.4% at the fifth through eighth rows of glazing; and light grey silicone beads at the joints, in conjunction with replacing adjacent metal flashing, gutters, and copings, in-kind; and temporarily removing and reinstalling the granite panels at the base of the wall to facilitate the replacement of the curtain wall.

The proposal, as initially presented, included a single gradated tint at each of the first four rows of glass panes, and a darker tint at the top four rows of glazing; and darker grey silicone joints. The proposal, as approved, was shown in a digital presentation, titled “The Metropolitan Museum of Art, Rockefeller Wing Sloped Glazing Proposed Replacement, Second Submission to the Landmarks Preservation Commission,”

dated May 24, 2021, and including 66 slides. The proposal, as initially presented, was shown in a digital presentation, titled “The Metropolitan Museum of Art, Rockefeller Wing Sloped Glazing Proposed Replacement, Design of Potential Future Replacement of Temple of Dendur Wing Sloped Glazing and

Rockefeller and Temple of Dendur Wing Skylights, Submission to Landmarks Preservation Commission” dated February 1, 2021, and including 53 slides. Both presentations were prepared by Beyer Blinder Belle Architects & Planners LLP, and consisted of photographs, drawings, and photomontages, as well as a mock-up and material and finish samples, all of which was presented as components of the application at the Public Hearing and Public Meetings.

In reviewing this proposal, the Commission noted that the Metropolitan Museum of Art Individual Landmark Designation Report describes 1000 Fifth Avenue as a Beaux-Arts and Roman style museum, built in 1864-1965, and designed by Vaux and Mould; R.M. Hunt; and McKim, Mead, and White, with later additions built between 1975-1990 and designed by Roche-Dinkeloo. The Commission also noted that an Advisory Report was issued on June 19, 1973, for the proposed construction of the Rockefeller Wing, Western European Wing, European Wing Garden Court, and the American Bicentennial Wing. The Commission further noted that the Rockefeller Wing was designed by Roche-Dinkeloo and constructed pursuant to the positive 1973 Commission-level advisory report.

With regard to this proposal, the Commission found that the replacement of the existing curtain wall is warranted due to its deteriorated condition and poor performance; that the proposed curtain wall will maintain the plane, materials, and presence of a grid pattern in keeping with the existing curtain wall, and will be consistent with the intent of the original design; that the difference in the width and height of the individual glass panels and the change from exterior mullion caps to silicone joints will be modest adjustments which will not dramatically change the overall character of the curtain wall and will improve the performance of the curtain wall; that the proposed graduated fritting of the glazing will be less noticeable than abrupt changes from row to row, will be in keeping with coatings found at the existing ABC wing skylights, and will aid in the preservation of the Museum’s collections; that the fritted “bird safe” glazing will be minimally perceptible when seen at a distance, and is required by the Building Code; that the color of the proposed exterior silicone joints will closely match the color of the existing metal mullions, and will differentiate itself visually from the glass to avoid a monolithic appearance; and that the work will not diminish the special architectural and historic character of the Individual Landmark, and can serve as a model for future curtain wall replacements at other portions of the building. Based on these findings, the Commission determined the work to be appropriate to the building and voted to issue a positive report.

The Commission authorized the issuance of a Commission Binding Report upon receipt, review and approval of signed and sealed Department of Building filing drawings showing the approved design.

Subsequently, on July 29, 2021, August 17, 2021, August 26, 2021, September 14, 2021, and September 21, 2021, the Commission received final filing materials, including an email, dated August 26, 2021, and prepared by Henry Miller; written specifications, dated May 7, 2021; existing conditions photographs, dated August 12, 2021; and filing drawings, labeled G-00100 through G-004.00, LS-111.00, LS-114.00, DM-111.00, DM-112.00, DM-114.00, DM-115.00, DM-120.00, DM-210.00, DM-310.00, DM-420.00, A-

111.00, A-112.00, A-114.00, A-115.00, A-120.00, A-212.00, A-130.00, A-210.00, A-221.00, A-230.00, A-

300.00 through A-302.00, A-310.00, A-400.00, A-401.00, A-410.00, A-411.00, A-431.00, A-432.00, A-

440.00 through A-443.00, A-445.00, A-446.00, A-461.00 through A-463.00, A-470.00, A-500.00, A-

501.00, A-600.00, A-601.00, A-610.00, A-620.00, A-621.00, A-670.00 through A-673.00, and A-675.00

through A-679.00, dated July 1, 2021; G-005.00, dated September 21, 2021; A-430.00, A-450.00, and A- 460.00, dated September 3, 2021, and prepared by John H. Beyer, RA; S-000.00, S-001.00, S-110.00, S- 115.0, S-120.00, S-130.00, S-131.00, S-140, S-221.00, S-222.00, S-231.00, S-501.00, S-511.00, S-521.00,

Page 2

Issued: 10/19/2021 DOCKET #: LPC-22-00997

S-531.00, S-532.00, S-910.00, and S-915.00, dated June 30, 2021, and prepared by Eli B. Gottlieb, PE; and M-001.00 through M-004.00, M-110.00 through M-114.00, M-124.00, M-134.00, M-144.00, M-210.00 through M-214.00, M-224.00, M-234.00, M-244.00, M-300.00 through M-304.00, M-400.00 through M- 402.00, M-500.00, M-501.00, and M-600.00 through M-602.00, dated June 28,2021; FA-001.00, FA-

111.00, FA-130.00, P-001.00, P-110.00, P-111.00, P-114.00, P-115.00, and P-400.00; and SP-001.00, SP-

101.00, SP-201.00, SP-204.00, and SP-400.00, dated June 30, 2021, and prepared by Erik D. Bodelsen, PE.

Accordingly, the Commission staff reviewed these materials and noted that they include additional work, consisting of exterior work at the east, west, and south-facing facades, and recessed portions of the modern masonry hyphens between the curtain wall of the Rockefeller Wing and Wings K and T, including cleaning limestone and removing anti-graffiti coating, throughout the hyphens, utilizing detergents, chemical cleaners, poultices, biocides, and micro-abrasive cleaners, as necessary; repointing deteriorated mortar joints at select locations throughout the facades; repairing deteriorated limestone at select locations at the east and west-facing facades of the hyphens, utilizing Dutchman units and a patching mortar, as necessary; replacing mortar within the joints at the sloped portion of the hyphens with lead T-caps; installing a stucco coating at the uncoated portions of the modern concrete masonry unit (CMU) facades at the recessed portions of the hyphens, matching the existing coated facades; installing two (2) security cameras on two (2) existing gooseneck camera mounts, including installing one (1) at each of the roofs of Wings K and T; and interior alterations at the basement through third floors, at select locations outside of the areas designated as an Interior Landmark.

With regards to this additional work, the Commission found that certain aspects of the work are in accordance with the provisions set forth in Title 63 f the Rules of the City of New York, Section 2-11 for Repair, Restoration, Replacement, and Re-creation of Building Facades and Related Exterior Elements, including Section 2-11(c)(1) for cleaning or removal of paint and coatings; Section 2-11(c)(3) for pointing mortar joints; Section 2-11(c)(4) for repair of natural or cast stone; and Section 2-11(c)(2)(iii) for coating masonry facades and features; and Section 2-20 for Health, Safety, and Utility Equipment, including Section 2-20(c)(4) for security cameras. Furthermore, with regard to these and other aspects of the work, the Commission found that the proposed lead caps will only be installed at joints at sloped portions of the wall, will be finished to blend with the surrounding masonry, and will help protect the building from damage due to water infiltration. Additionally, the Commission found that the design approved by the Commission has been maintained. Based on these and the above findings, the drawings have been marked approved and Commission Binding Report 22-00997 is being issued.

The approved documents, and Department of Buildings filing drawings where applicable, are marked approved by the Commission, with the date of the approval indicated.

Please see Title 63 of the Rules of the City of New York for complete text of any cited Rule section(s): http://www1.nyc.gov/site/lpc/applications/rules-guides.page

SAMPLES REQUIRED: Pursuant to Title 63 of the Rules of the City of New York, Section 2-11(b)(5) and 2-11(b)(7) for Repair, Restoration, Replacement and Re-creation of Building Façades and Related Exterior Elements, this permit is being issued contingent upon the Commission's review and approval of installed sample mockups of patching and pointing mortars, and Dutchman units at locations requiring repair, prior to the commencement of work. Review instructions in the subsection cited above before preparing samples. Submit clear, color digital photographs of all samples to MCraren@lpc.nyc.gov for review, or contact staff to schedule a site visit.

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the

Page 3

Issued: 10/19/2021 DOCKET #: LPC-22-00997

Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Michelle Craren.

Sarah Carroll Chair

cc:	Emma Waterloo, Deputy Director; Henry Miller, Beyer Blender Belle Architects

Page 4

Issued: 10/19/2021 DOCKET #: LPC-22-00997

THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/07/21 | EXPIRATION DATE: 10/7/2027 | DOCKET #: LPC-22-02954 |  | SRB SRB-22-02954 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: 134 BUSHWICK AVENUE |  |  | BOROUGH: BROOKLYN |  | BLOCK/LOT: 3027 / 1 |  |
| Williamsburgh Houses, Individual Landmark |  |  |  |  |  |  |

To the Mayor, the Council, and the Chair of the New York City Housing Authority,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission received a proposal for interior alterations only at the fourth floor, as shown on drawings labeled GN-001.00, A-101.00, and A-502.00, dated February 3, 2021, and prepared by Brian Eric Newman, R.A., all submitted as components of the application.

The Commission has reviewed these drawings and finds that the work will have no effect on the significant protected features of the building.

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Dina

Posner.

Sarah Carroll Chair

cc:	Bernadette Artus, Deputy Director; Yani Diaz, Charis Consulting/MDG Design & Constr.

Page 2

Issued:   10/07/21 DOCKET #: LPC-22-02954

THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/01/21 | EXPIRATION DATE: 10/1/2027 | DOCKET #: LPC-22-03071 |  | SRB SRB-22-03071 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: NYC Streetlight Poles |  |  | BOROUGH: Queens |  | BLOCK/LOT: 0 / 0 |  |
| NYC Streetlight Poles Historic Street Lampposts, Individual Landmark Jackson Heights Historic District |  |  |  |  |  |  |

To the Mayor, the Council, and the Director of Mobile Telecom Franchises & Special Projects,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission has reviewed a proposal for installing telecommunications poletop antennas and associated transmitter boxes mounted on existing light poles, the design and attachment of which are in accordance with the guidelines established by the Public Design Commission. The work will occur at light poles located within the Jackson Heights Historic District. The work consists of installing one (1) telecommunications poletop antenna and transmitter box at an existing light pole, as well as installing conduit mounted to the metal shaft of the light pole, all finished gray to match the existing light pole; and excavating concrete paving where the concrete will be replaced to match the pre- existing tint and scoring, as described and shown in existing conditions photographs, locator map, poletop manager print out, manhole cover diagram, and a letter, dated September 28, 2021, prepared by Judith Garcia of NYC DoITT, and submitted as components of the application.

In reviewing this proposal, the Commission notes that multiple telecommunications poletop antenna and transmitter box are proposed to be mounted on light poles throughout New York City's historic districts; that the Department of Information Technology and Telecommunications applications for such work have been divided into multiple phases, of which the current proposal consists of one (1) of such installations.

The Commission also notes that the current application excludes any proposal for work with the African Burial Ground and The Commons Historic District, which must be reviewed and approved separately by the Landmarks Preservation Commission's Director of Archaeology. The Commission further notes that the Art Commission issued Certificate of Final Approval 22232 on September 14, 2005, approving the design of telecommunications poletop antennas and transmitter boxes, with associated conditions. The Approved poletop identification number within the Jackson Heights Historic District is: 25297.

With regard to this proposal, the Commission finds that the small size, neutral finish, simple design, and mounting height of the proposed poletop antenna and transmitter box will help them to be discreet installations at the upper portions of the light poles; that the installations will not call attention to themselves and will not detract from the streetscape; that the conduit run will be the thinnest possible diameter and will be finished to blend with the light pole shaft, so as not to call undue attention to itself; and that any concrete paving to be excavated will be replaced with new concrete paving to match the tint and scoring of the adjacent concrete paving. Based on these findings, the proposed work is determined to be appropriate to this historic district. Therefore, the work is approved.

Please provide one or more 8 by 10 inch black and white photographs of the completed work to the Public Design Commission of the City of New York, for its records.

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Abbie Hurlbut.

Sarah Carroll Chair

cc:	Edith Bellinghausen, Deputy Director; Imani Charles, NYC DoITT

Page 2

Issued:   10/01/21 DOCKET #: LPC-22-03071

THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/18/21 | EXPIRATION DATE: 10/18/2027 | DOCKET #: LPC-22-03428 |  | SRB SRB-22-03428 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: Central Park |  |  | BOROUGH: Manhattan |  | BLOCK/LOT: 1111 / 1 |  |
| Fred Lebow Statue Central Park, Scenic Landmark |  |  |  |  |  |  |

To the Mayor, the Council, and the Commissioner of the New York City Department of Parks & Recreation,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission has reviewed a proposal to temporarily relocate a bronze statue (Fred Lebow) from its granite base located at East 90th Street and the East Drive (Runner's Gate) to a temporary wooden pedestal located at West 67th Street and the West Drive (The NYC Marathon Finish Line at Tavern on the Green), on November 2, 2021, and returning it to its permanent location on November 8, 2021, as described and shown in an undated written statement, submitted by Anthony Sama of the New York City Department of Parks and Recreation.

In reviewing this proposal, the Commission notes that Central Park Scenic Landmark Designation Report describes the park as an English Romantic style public park designed in 1858 by Olmsted and Vaux.

With regard to this proposal, the Commission finds that the work is in accordance with the provisions set forth in Title 63 of the Rules of the City of New York, Section 2-05 for Temporary Installations. Based on these findings, the Commission determined that the proposed work will be appropriate to the Central Park Scenic Landmark.

Please see Title 63 of the Rules of the City of New York for complete text of any cited Rule section(s): http://www1.nyc.gov/site/lpc/applications/rules-guides.page

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Misha'el Shabrami.

Sarah Carroll Chair

cc:	Bernadette Artus, Deputy Director; Anthony Sama,

Page 2

Issued:   10/18/21 DOCKET #: LPC-22-03428

THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/21/21 | EXPIRATION DATE: 10/21/2027 | DOCKET #: LPC-22-03732 |  | SRB SRB-22-03732 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: Street Infrastructure |  |  | BOROUGH: BROOKLYN |  | BLOCK/LOT: / |  |
| Prospect Heights Prospect Heights Historic District |  |  |  |  |  |  |

To the Mayor, the Council, and the Associate Commissioner, NYC Department of Design and Construction,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission has reviewed a proposal for sidewalk and street bed work at multiple locations within the Prospect Heights Historic District, which is a historic district in which proposals for sidewalk paving work does not require a permit from the Landmarks Preservation Commission pursuant to Section 2-19(a)(1)(iii); including, removing and replacing untinted and dark gray tinted concrete sidewalk paving, scored to match the adjacent paving; replacing granite curbing; installing white or gray detectable warning units at select sidewalk corners; replacing select fire hydrants; installing new sewers and metal grates in the street bed; and replacing asphalt street paving, all to facilitate the replacement of a subsurface water main, as described in a letter, dated September 24, 2021, prepared by Jeremy Woodoff/NYC DDC; as shown in existing condition photographs and in a PDF presentation titled "Project ID: SEK002383, Pacific Park Project, Phase II Combined Sewer Installation and Water Main Replacement in Dean Street between 6th Avenue and Vanderbilt Avenue, Etc.," dated (received) September 27, 2021, and prepared by City of New York Department of Design and Construction, Division of Infrastructure, all submitted as components of the application.

With regard to the proposal, the Commission finds that certain aspects of the work are in accordance with

the provisions set forth in Title 63 of the Rules of the City of New York, Section 2-19 for Sidewalks, including Section 2-19(g)(1) for pedestrian ramps at sidewalk intersections. Furthermore, with regard to these or other aspects of the work, the Commission finds that the sewer grates and fire hydrants are consistent with typical utility equipment found at sidewalks throughout this historic district; and that the work will not detract from the special architectural and historic character of the Prospect Heights Historic District. Based on these findings, the work is approved.

Please see Title 63 of the Rules of the City of New York for complete text of any cited Rule section(s): http://www1.nyc.gov/site/lpc/applications/rules-guides.page

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Marie Guarino.

Sarah Carroll Chair

cc:	Jared Knowles, Deputy Director; Jeremy Woodoff, NYC DDC

Page 2

Issued:   10/21/21 DOCKET #: LPC-22-03732

THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/21/21 | EXPIRATION DATE: 10/21/2027 | DOCKET #: LPC-22-03744 |  | SRB SRB-22-03744 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: Streetlight Poles |  |  | BOROUGH: Brooklyn |  | BLOCK/LOT: 0 / 0 |  |
| NYC Streetlight Poles Historic Street Lampposts, Individual Landmark Borough Hall Skyscraper Historic District |  |  |  |  |  |  |

To the Mayor, the Council, and the Director of Mobile Telecom Franchises & Special Projects,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission has reviewed a proposal for installing telecommunications poletop antennas and associated transmitter boxes mounted on existing light poles, the design and attachment of which are in accordance with the guidelines established by the Public Design Commission. The work will occur at light poles located within the Borough Hall Skyscraper Historic District. The work consists of installing one (1) telecommunications poletop antenna and transmitter box at an existing light pole, as well as installing conduit mounted to the metal shaft of the light pole, all finished gray to match the existing light pole; and excavating concrete paving where the concrete will be replaced to match the pre-existing tint and scoring, as described and shown in existing conditions photographs, locator map, poletop manager print out, manhole cover diagram, and a letter, dated October 20, 2021, prepared by Brett Sikoff of NYC DoITT, and submitted as components of the application.

In reviewing this proposal, the Commission notes that multiple telecommunications poletop antenna and transmitter box are proposed to be mounted on light poles throughout New York City's historic districts; that the Department of Information Technology and Telecommunications applications for such work have been divided into multiple phases, of which the current proposal consists of one (1) of such installations.

The Commission also notes that the current application excludes any proposal for work with the African Burial Ground and The Commons Historic District, which must be reviewed and approved separately by the Landmarks Preservation Commission's Director of Archaeology. The Commission further notes that the Art Commission issued Certificate of Final Approval 22232 on September 14, 2005, approving the design of telecommunications poletop antennas and transmitter boxes, with associated conditions. The Approved poletop identification number within the Borough Hall Skyscraper Historic District is: 22115.

With regard to this proposal, the Commission finds that the small size, neutral finish, simple design, and mounting height of the proposed poletop antenna and transmitter box will help them to be discreet installations at the upper portions of the light poles; that the installations will not call attention to themselves and will not detract from the streetscape; that the conduit run will be the thinnest possible diameter and will be finished to blend with the light pole shaft, so as not to call undue attention to itself; and that any concrete paving to be excavated will be replaced with new concrete paving to match the tint and scoring of the adjacent concrete paving. Based on these findings, the proposed work is determined to be appropriate to this historic district. Therefore, the work is approved.

Please provide one or more 8 by 10 inch black and white photographs of the completed work to the Public Design Commission of the City of New York, for its records.

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Abbie Hurlbut.

Sarah Carroll Chair

cc:	Edith Bellinghausen, Deputy Director; Kristina Martinez, NYC DoITT

Page 2

Issued:   10/21/21 DOCKET #: LPC-22-03744

THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# BINDING REPORT

| ISSUE DATE: 10/22/21 | EXPIRATION DATE: 10/22/2027 | DOCKET #: LPC-22-03829 |  | SRB SRB-22-03829 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: Streetlight Poles |  |  | BOROUGH: Queens |  | BLOCK/LOT: 0 / 0 |  |
| NYC StreetLight Poles Historic Street Lampposts, Individual Landmark Sunnyside Gardens Historic District |  |  |  |  |  |  |

To the Mayor, the Council, and the Director of Mobile Telecom Franchises & Special Projects,

This report is issued pursuant to Sections 3020 and 854 (h) of the New York City Charter and Section 25- 318 of the Administrative Code of the City of New York, which require a report from the Landmarks Preservation Commission for certain plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission has reviewed a proposal for installing telecommunications poletop antennas and associated transmitter boxes mounted on existing light poles, the design and attachment of which are in accordance with the guidelines established by the Public Design Commission. The work will occur at light poles located within the Sunnyside Gardens Historic District. The work consists of installing one (1) telecommunications poletop antenna and transmitter box at an existing light pole, as well as installing conduit mounted to the metal shaft of the light pole, all finished light gray to match the existing light pole; and excavating concrete paving where the concrete will be replaced to match the pre-existing tint and scoring, as described and shown in existing conditions photographs, locator map, poletop manager print out, manhole cover diagram, and a letter, dated October 21, 2021, prepared by Judith Garcia of NYC DoITT, and submitted as components of the application.

In reviewing this proposal, the Commission notes that multiple telecommunications poletop antenna and transmitter box are proposed to be mounted on light poles throughout New York City's historic districts; that the Department of Information Technology and Telecommunications applications for such work have been divided into multiple phases, of which the current proposal consists of one (1) of such installations.

The Commission also notes that the current application excludes any proposal for work with the African Burial Ground and The Commons Historic District, which must be reviewed and approved separately by the Landmarks Preservation Commission's Director of Archaeology. The Commission further notes that the Art Commission issued Certificate of Final Approval 22232 on September 14, 2005, approving the design of telecommunications poletop antennas and transmitter boxes, with associated conditions. The Approved poletop identification number within the Sunnyside Gardens Historic District is: 21984.

With regard to this proposal, the Commission finds that the small size, neutral finish, simple design, and mounting height of the proposed poletop antenna and transmitter box will help them to be discreet installations at the upper portions of the light poles; that the installations will not call attention to themselves and will not detract from the streetscape; that the conduit run will be the thinnest possible diameter and will be finished to blend with the light pole shaft, so as not to call undue attention to itself; and that any concrete paving to be excavated will be replaced with new concrete paving to match the tint and scoring of the adjacent concrete paving. Based on these findings, the proposed work is determined to be appropriate to this historic district. Therefore, the work is approved.

Please provide one or more 8 by 10 inch black and white photographs of the completed work to the Public Design Commission of the City of New York, for its records.

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Abbie Hurlbut.

Sarah Carroll Chair

cc:	Edith Bellinghausen, Deputy Director; Kristina Martinez, NYC DoITT

Page 2

Issued:   10/22/21 DOCKET #: LPC-22-03829