THE NEW YORK CITY LANDMARKS PRESERVATION COMMISSION 1 CENTRE STREET 9TH FLOOR NORTH NEW YORK NY 10007

TEL: 212 669-7700 FAX: 212 669-7780

# ADVISORY REPORT

| ISSUE DATE: 08/13/20 | EXPIRATION DATE: 8/13/2026 | DOCKET #: LPC-21-00938 |  | SRA SRA-21-00938 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADDRESS: 1 BOWLING GREEN |  |  | BOROUGH: MANHATTAN |  | BLOCK/LOT: 12 / 1 |  |
| United States Custom House, Interior Landmark United States Custom House, Individual Landmark |  |  |  |  |  |  |

To the Mayor, the Council, and the Project Manager, US GSA, NJ Field Office,

This report is issued pursuant to Section 25-318 of the Administrative Code of the City of New York, which requires a report from the Landmarks Preservation Commission for plans for the construction, reconstruction, alteration, or demolition of any improvement or proposed improvement which is owned by the City or is to be constructed upon property owned by the City and is or is to be located on a landmark site or in a historic district or which contains an interior landmark.

The Landmarks Preservation Commission has reviewed a proposal for temporarily removing sections of waterproofing membranes (“probes”) at three locations at the areaway lightwells, including one at the areaway adjacent to the west (State Street) façade, one at the areaway adjacent to the north (Bowling Green) façade, and one at the areaway adjacent to the south (Bridge Street) façade, all with a maximum size of two feet by two feet in order to provide information about the underlying conditions of deterioration and structural components to inform future restoration work; and replacing the waterproofing membranes in-kind upon completion of the work, in conjunction with temporarily removing and reinstalling coatings and terra cotta block within the below-grade sidewalk vaults, as described and shown in a memorandum, dated July 1, 2020, and prepared by Nimesh Shah, PE, and Michael Stripunsky, RA; written specifications, dated (received) August 3, 2020; existing conditions photographs, dated (received) August 3, 2020; and a supplemental project booklet, containing annotated drawings, photographs, and written descriptions, dated (received) August 3, 2020, and prepared by Superstructures Engineers + Architects, all submitted as components of the application. The materials also show the temporary removal and installation of concrete paving and granite curbing at the sidewalks.

In reviewing this proposal, the Commission notes that the United States Custom House Designation Report describes 1 Bowling Green as an Eclectic French Renaissance style government building, designed by Cass Gilbert, and built in 1901-07. The Commission also notes that the work at the sidewalks is outside the boundaries of the Individual Landmark site.

With regard to this proposal, the Commission finds that the work is in accordance with the provisions set forth in Title 63 of the Rules of the City of New York, Section 2-11 for Repair, Restoration, Replacement, and Re-creation of Building Facades and Related Exterior Elements, including Section 2-11(b)(1) for probes and other investigative work.

Please see Title 63 of the Rules of the City of New York for complete text of any Rule section(s) cited in this permit: http://www1.nyc.gov/site/lpc/applications/rules-guides.page

This report is issued on the basis of the building and site conditions described in the application and disclosed during the review process. By accepting this permit, the applicant agrees to notify the Commission if the actual building or site conditions vary or if original or historic building fabric is discovered. The Commission reserves the right to amend or revoke this permit, upon written notice to the applicant, in the event that the actual building or site conditions are materially different from those described in the application or disclosed during the review process.

All approved drawings are marked approved by the Commission with a perforated seal indicating the date of approval. The work is limited to what is contained in the perforated documents. Other work or amendments to this filing must be reviewed and approved separately. This report constitutes the permit; a copy must be prominently displayed at the site while work is in progress. Please direct inquiries to Michelle Craren.

Sarah Carroll Chair

cc: Emma Waterloo, Deputy Director; Paul Millman, Superstructures Eng. + Arch.

Page 2

Issued: 08/13/20 DOCKET #: LPC-21-00938